## Sheet1
Table B.2. | Major Disturbances and Unusual Occurrences, 2003
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected 1 | Restoration
Date/Time
January
2003-01-25 | ECAR | 2:00 p.m. | Cincinnati, Ohio | Cyber Threat From Internet | NA | NA | 1/26/03, 2:00 a.m.
February
2003-02-27 | SERC | 11:32 a.m. | Piedmont, North Carolina | Winter Ice Storm | 1000 | over 340,000 | 3/01/03, 8:00 a.m.
March
None
April
2003-04-03 | ECAR | 7:00 p.m. | Lower Michigan Peninsula | Ice Storm | 300 | 425000 | 4/06/03, 5:00 p.m.
2003-04-04 | NPCC | 3:11 a.m. | New York, | Severe Storm | 200-250 | 160000 | 4/05/03, 2:00 p.m.
Upstate New York
2003-04-15 | ERCOT | 11:00 a.m. | Cities of Bryan, | Relaying Malfunction | 212 | 68530 | 4/15/03, 2:06 p.m.
College Station
and surrounding
areas
2003-04-28 | MAIN | 3:41 p.m. | County of Waukesha, Wisconsin, | Vandalism | 0 | 0 | 4/29/03, 12:00 noon
Town of Lisbon, Wisconsin
May
2003-05-02 | SERC | 5:00 p.m. | Piedmont, North and | Severe Thunderstorms | 1500 | 139000 | 5/04/03, 12:00 noon
South Carolina
2003-05-02 | SERC | 8:00 p.m. | Central Georgia, | Severe Thunderstorms | 130 | 102,842 (Georgia) | 5/03/03, 8:00 a.m.
|  |  | Alabama |  |  | 12,897 (Alabama)
2003-05-15 | ERCOT | 2:52 a.m. | North Texas | Interruption of Firm | 476 | 192000 | 5/15/03, 3:29 a.m.
Power
2003-05-15 | MAIN | 2:00 p.m. | Upper Michigan Peninsula | Flood | 240 | 2 | 6/16/03, 2:00 p.m.
June
2003-06-15 | WECC | 3:12 p.m. | Idaho | Public Appeal | 0 | 0 | 6/16/03, 5:00 p.m.
2003-06-30 | SPP | 1:00 p.m. | Coastal areas of | Tropical Storm Bill | NA | 179299 | 6/30/03, 12:00 a.m.
Southwest Louisiana
entire New Orleans
metropolitan area
July
2003-07-01 | WECC | 3:15 p.m. | Phoenix, Arizona | Breaker Failure | 1000 | 47000 | 7/01/03, 3:50 p.m.
2003-07-02 | WECC | 1:54 p.m. | Northern California | Unit Tripped | 200 | 1 | 7/02/03, 3:59 p.m.
2003-07-04 | MAIN | 6:00 a.m. | Southeast Wisconsin | Severe Thunderstorms | 150 | 52000 | 7/04/03, 10:00 a.m.
2003-07-04 | ECAR | 9:00 a.m. | Lower Michigan Peninsula | Severe Thunderstorms | 75-90 | 131000 | 7/06/03, 4:00 p.m.
2003-07-04 | ECAR | 11:41 p.m. | Southwest Ohio, portions of Indiana | Severe Storms | 200 | 55142 | 7/06/03, 9:00 p.m.
2003-07-05 | MAIN | 3:00 a.m. | Northern Illinois | Severe Storms | 80 | 130000 | 7/05/03, 7:00 a.m.
2003-07-07 | MAIN | 9:00 a.m. | Northern Illinois | Severe Thunderstorms | NA | 72000 | 7/07/03, 3:00 p.m.
2003-07-08 | ECAR | 4:00 a.m. | Ohio | Severe Thunderstorms | 11000 | 134500 | 7/11/03, 4:00 p.m.
2003-07-09 | SERC | 5:14 p.m. | Northern Central and Eastern Virginia | Severe Thunderstorms | 120 | 80000 | 7/09/03, 7:09 p.m.
2003-07-15 | ERCOT | 8:24 a.m. | Texas | Hurricane Claudette | 230-300 | 108000 | 7/21/03, 10:30 a.m.
2003-07-21 | MAAC | 5:15 p.m. | Pennsylvania | Severe Storms | 500-1000 | 185000 | 7/24/03, 5:33 a.m.
2003-07-28 | WECC | 6:55 p.m. | Arizona | Breaker Closed | 440 | 90000 | 7/28/03, 8:35 p.m.
Table B.2. | Major Disturbances and Unusual Occurrences, 2003
(Continued)
Date | NERC Region | Time | Area | Type of Disturbance | Loss (megawatts) | Number of Customers Affected 1 | Restoration Time
August
2003-08-14 | ECAR | Approximately 3:00 p.m. | Geographic areas for MISO Reliability Coordination footprint: Michigan and Ohio | Unknown * | Approx. 18,500 MW, in MISO area: | NA | Approximately
[5 empty] | First Energy 7,500 |  | 8/17/03, 5:00 p.m.
Detroit Edison 9,200
Consumers Energy 1,800
2003-08-14 | ECAR | 4:09 p.m. | Southeastern Michigan including all of Detroit | Unknown * | 11000 | 2100000 | 8/16/03, 7:00 a.m.
2003-08-14 | ECAR | 4:09 p.m. | Southern Lower Michigan and small areas near Flint, Alma, Saginaw, and Lansing Michigan | Unknown * | 1007 | 101000 | 8/16/03, 1:03 p.m.
2003-08-14 | ECAR | 4:10 p.m. | Northeast, Ohio | Unknown * | 7000 | 1203000 | 8/16/03, 8:27 p.m.
2003-08-14 | NPCC | 4:10 p.m. | Southwestern Connecticut and a small portion of Western Massachusetts and Vermont | Unknown * | 2500 | NA | 8/16/03, 3:45 a.m.
Restoration ended;
8/17/03, 7:00 p.m.,
incident ended
2003-08-14 | NPCC | 4:10 p.m. | New York State | Unknown * | 22934 | unknown | 8/18/03, 12:03 a.m.
2003-08-14 | NPCC | 4:10 p.m. | New York- Buffalo to Albany; Ontario, Canada to Pennsylvania | Unknown * | NA | 840137 | 8/14/03, 11:48 p.m.
2003-08-14 | MAAC | 4:10 p.m. | Northern New Jersey Erie, Pennsylvania area | Unknown * | 4,100 MW (Northern NJ) and 400 MW, (Erie, PA) area | NA | Approximately
8/15/03, 6:00 a.m.
2003-08-14 | NPCC | 4:11 p.m. | Entire Con Edison System (five boroughs of NYC and Westchester County) | Unknown * | 11202 | 3125350 | 8/15/03, 9:03 p.m.
2003-08-26 | MAAC | 4:00 p.m. | Maryland: Anne Arundel County, Baltimore County, Calvert County, Carroll County, Howard County, Montgomery County, Prince George's and Baltimore City. | Severe Thunderstorms | 625 | 93,000 at peak 133,000 cumulative | 8/29/03, 12:00 noon
2003-08-26 | MAAC | 4:22 p.m. | Washington, D.C., Montgomery County, Prince Georges County, Maryland | Severe Thunderstorms | 1500 | 153000 | 8/31/03, 6:00 p.m.
September
2003-09-07 | MAIN | 5:19 a.m. | Upper Michigan Peninsula | Transmission Equipment | 310 | 4 (industrial) | 9/07/03, 6:00 p.m.
2003-09-18 | SERC | 8:20 a.m. | North Eastern North Carolina, Eastern Central , and Northern Virginia | Hurricane Isabel | 6512 | 1.8 million | 9/29/03, 10:42 p.m.
2003-09-18 | SERC | 11:45 a.m. | Eastern North Carolina | Hurricane Isabel | peak 1655 | peak 320,00 9/18/03 7:00 p.m. | 9/18/03, 12:00 midnight
2003-09-18 | MAAC | 12:00 noon | Central Maryland (Baltimore City, Baltimore County, Anne Arundel County, Hartford County, Montgomery County, Calvert County, Prince George's County, Carroll County and Howard County) | Hurricane Isabel | 2000 | 650000 | 9/26/03, 10:50 p.m.
2003-09-18 | MAAC | 2:00 p.m. | Maryland, West Virginia, Virginia and Pennsylvania | Hurricane Isabel | 3085 | 237366 | 9/24/03, 12:00 midnight
2003-09-18 | SERC | 3:32 p.m. | Triangle and Tridad (Greensboro – High Point) Areas North Carolina - Northern Region | Hurricane Isabel | 500-700 | Under 50,000 | 9/19/03, 5:00 p.m.
Table B.2. | Major Disturbances and Unusual Occurrences, 2003
(Continued)
Date | NERC Region | Time | Area | Type of Disturbance | Loss (megawatts) | Number of Customers Affected 1 | Restoration Time
2003-09-18 | MAAC | 4:20 p.m. | District of Columbia, Montgomery and Prince George's Counties, Maryland | Hurricane Isabel | NA | Over 530,000 peak on 9/19/03 | 9/28/03, 6:00 p.m.
2003-09-18 | MAAC | 9:00 p.m. | All PPL including: Williamsport, Harrisburg, Lancaster, Scranton and Allentown areas | Hurricane Isabel | 1300 | 425000 | 9/21/03, 5:00 p.m.
October
2003-10-26 | WECC | 1:44 a.m. | San Diego County, California | Wild Fire | N/A | 108,000 (Dist. And Trans. Combined) | 11/18/03, 10:54 a.m. (Trans. Only)
November
2003-11-05 | MAAC | 3:16 p.m. | Maryland/Virginia border | Tornado | 350 | 1 | 11/05/03, 3:54 p.m.
2003-11-12 | ECAR | 5:00 p.m. | Lower Michigan Peninsula | Wind Storm | 75-90 | 245000 | 11/16/03, 6:00 p.m.
2003-11-12 | MAIN | 5:00 p.m. | Northern Illinois | High Winds | Est. 371.1 | 51000 | 11/12/03, 7:00 p.m.
2003-11-12 | ECAR | 6:00 p.m. | Southeastern Michigan | Storm with High Winds | Est. 75 | 160000 | 11/16/03, 5:00 p.m.
2003-11-13 | MAAC | 6:00 a.m. | Central Maryland (Baltimore City, Baltimore County, Anne Arundel County, Harford County, Montgomery County, Calvert County, Prince George's County, Carroll County and Howard County) | High Winds | 375 | 110000 | 11/16/03, 4:00 p.m.
2003-11-13 | NPCC | 7:30 a.m. | New York | Storm with High Winds | Approx. 180 | 50280 | 11/14/03, 6:30 a.m.
2003-11-13 | MAAC | 11:00 a.m. | Washington, D.C., Montgomery County, Prince Georges County, Md | Major Wind Storm | Est. 400 | 104,195 at 5:23 p.m. 11/13/03 | 11/14/03, 7:30 a.m.
2003-11-13 | SERC | 1:40 p.m. | Northern Virginia, Richmond area, Eastern Virginia | Wind Storm | 300 | 67000 | 11/13/03, 3:51 p.m.
December
2003-12-01 | NPCC | 6:16 p.m. | Cape Cod and part of SE Massachusetts | Wild Fire – Transmission Equipment | 630 | 300000 | 12/01/03, 8:11 p.m.
2003-12-04 | WECC | 7:00 a.m. | Eastern portions of King County and Pierce County | High Winds | 175 | 200,000 (Peak) | 12/08/03, 7:00 a.m.
2003-12-04 | MAIN | 10:34 p.m. | Northeast Wisconsin and Central/Western Upper Peninsula of Michigan | Fault on 138 KV line | 650 | 6 (utilities) | 12/07/03, 8:30 a.m.
2003-12-04 | MAIN | 10:15 p.m. | Upper Peninsula of Michigan and Northeastern Wisconsin | Fault on 138 KV line | 500 | 36000 | 12/08/03, 8:30 a.m.
2003-12-05 | FRCC | 4:49 a.m. | State of Florida - Dade County | Transmission Equipment | 27 | 16500 | 12/05/03, 6:25 a.m.
2003-12-05 | MAIN | 7:00 a.m. | Northeast Wisconsin and Central/Western Upper Peninsula of Michigan | Transmission Equipment | 14 | 2 | 12/05/03, 8:00 p.m.
2003-12-20 | WECC | 3:51 p.m. | San Francisco, California | Cable Failure | 150 | 120000 | 12/21/03, 11:45 p.m.
2003-12-22 | WECC | 11:15 a.m. | Central California Coast | Earthquake | 220 | 109750 | 12/22/03, 11:16 a.m.
2003-12-28 | WECC | 9:00 p.m. | Northern California | Winter Storm | 160 | 241000 | 1/01/04, 11:30 a.m.
1 = Estimated Values.
* Information as provided by the respondent. The occurrence is, however, associated with the
massive blackout of August 14, 2003. For further information, refer to the Interim Report:
Causes of the August 14 Blackout in the United States and Canada, November 2003 at
http://www.energy.gov/engine/content.do.
Note: North American Electric Reliability Council region acronyms are defined in the glossary.
Source: Form EIA-417, "Electric Emergency Incident and Disturbance Report."

## Sheet2
Table B.2.Major Disturbances and Unusual Occurrences, 2003
Date | Time | Area Affected | Type of Disturbance | NERC Region | Loss (megawatts) | Number of Customers Affected 1 | Restoration Date | Restoration Time
2003-01-25 | 14:00 | Cincinnati, Ohio | Cyber Threat From Internet | ECAR | 0 | 0 | 2003-01-26 | 2:00 AM
2003-02-27 | 11:32 | Piedmont, North Carolina | Winter Ice Storm | SERC | 1000 | over 340,000 | 2003-03-01 | 8:00 AM
2003-04-03 | 19:00 | Lower Michigan Peninsula | Ice Storm | ECAR | 300 | 425000 | 2003-04-06 | 5:00 PM
2003-04-04 | 3:11 | New York, | Severe Storms | NPCC | 200-250 | 160000 | 2003-04-05 | 2:00 PM
Upstate New York
2003-04-15 | 11:00 | Cities of Bryan,collage station and surrouning areas | Relaying Malfunction | ERCOT | 212 | 68530 | 2003-04-15 | 2:06 PM
2003-04-28 | 15:41 | County of Waukesha, Wisconsin, | Vandalism | MAIN | 0 | 0 | 2003-04-29 | 12:00 PM
Town of Lisbon, Wisconsin
2003-05-02 | 17:00 | Piedmont, North and South Carolina | Severe Thunderstorms | SERC | 1500 | 139000 | 2003-05-04 | 12:00 PM
2003-05-02 | 20:00 | Central Georgia, | Severe Thunderstorms | SERC | 130 | 102,842 (Georgia) | 2003-05-03 | 8:00 AM
|  | Alabama |  |  |  | 12,897 (Alabama)
2003-05-15 | 2:52 | North Texas | Interruption of Firm Power | ERCOT | 476 | 192000 | 2003-05-15 | 3:29 AM
2003-05-15 | 14:00 | Upper Michigan Peninsula | Flood | MAIN | 240 | 2 | 2003-06-16 | 2:00 PM
2003-06-15 | 15:12 | Idaho | Public Appeal | WECC | 0 | 0 | 2003-06-16 | 5:00 PM
2003-06-30 | 13:00 | Coastal areas of Southwest, Louisiana, entire New Orleans metropolitan area | Tropical Storm Bill | SPP | 0 | 179299 | 2003-06-30 | 12:00 AM
2003-07-01 | 15:15 | Phoenix, Arizona | Breaker Failure | WECC | 1000 | 47000 | 2003-07-01 | 3:50 PM
2003-07-02 | 13:54 | Northern California | Unit Tripped | WECC | 200 | 1 | 2003-07-02 | 3:59 PM
2003-07-04 | 6:00 | Southeast Wisconsin | Severe Thunderstorms | MAIN | 150 | 52000 | 2003-07-04 | 10:00 AM
2003-07-04 | 9:00 | Lower Michigan Peninsula | Severe Thunderstorms | ECAR | 75-90 | 131000 | 2003-07-06 | 4:00 PM
2003-07-04 | 23:41 | Southwest Ohio, portions of Indiana | Severe Storms | ECAR | 200 | 55142 | 2003-07-06 | 9:00 PM
2003-07-05 | 3:00 | Northern Illinois | Severe Storms | MAIN | 80 | 130000 | 2003-07-05 | 7:00 AM
2003-07-07 | 9:00 | Northern Illinois | Severe Thunderstorms | MAIN | 0 | 72000 | 2003-07-07 | 3:00 PM
2003-07-08 | 4:00 | Ohio | Severe Thunderstorms | ECAR | 11000 | 134500 | 2003-07-11 | 4:00 PM
2003-07-09 | 17:14 | Northern Central and Eastern Virginia | Severe Thunderstorms | SERC | 120 | 80000 | 2003-07-09 | 7:09 PM
2003-07-15 | 8:24 | Texas | Hurricane Claudette | ERCOT | 230-300 | 108000 | 2003-07-21 | 10:30 AM
2003-07-21 | 17:15 | Pennsylvania | Severe Storms | MAAC | 500-1000 | 185000 | 2003-07-24 | 5:33 AM
2003-07-28 | 18:55 | Arizona | Breaker Closed | WECC | 440 | 90000 | 2003-07-28 | 8:35 PM
2003-08-14 | Approximately 3:00 PM | Geographic areas for MISO Reliability Coordi0tion footprint: Michigan and Ohio | unknown | ECAR | Approx. 18,500 MW, in MISO area: | 0 | Approximately
[5 empty] | First Energy 7,500 |  | 2003-08-17 | 5:00 PM
Detroit Edison 9,200
Consumers Energy 1,800
2003-08-14 | 16:09 | Southeastern Michigan including all of Detroit | unknown | ECAR | 11000 | 2100000 | 2003-08-16 | 7:00 AM
2003-08-14 | 16:09 | Southern Lower Michigan and small areas near Flint, Alma, Saginaw, and Lansing Michigan | unknown | ECAR | 1007 | 101000 | 2003-08-16 | 1:03 PM
2003-08-14 | 16:10 | Northeast, Ohio | unknown | ECAR | 7000 | 1203000 | 2003-08-16 | 8:27 PM
2003-08-14 | 16:10 | Southwestern Connecticut and a small portion of Western Massachusetts and Vermont | unknown | NPCC | 2500 | 0 | 2003-08-16 | 3:45 AM
[7 empty] | 2003-08-17 | 7:00 PM
2003-08-14 | 16:10 | New York State | unknown | NPCC | 22934 | 0 | 2003-08-18 | 12:03 AM
2003-08-14 | 16:10 | New York- Buffalo to Albany; Ontario, Canadato Pennsylvania | unknown | NPCC | 0 | 840137 | 2003-08-14 | 11:48 PM
2003-08-14 | 16:10 | Northern New Jersey Erie, Pennsylvania area | unknown | MAAC | 4,100 MW (Northern NJ) and 400 MW, (Erie, PA) area | 0 | Approximately
[7 empty] | 2003-08-15 | 6:00 AM
2003-08-14 | 16:11 | Entire Con Edison System (five boroughs of NYC and Westchester County) | unknown | NPCC | 11202 | 3125350 | 2003-08-15 | 9:03 PM
2003-08-26 | 16:00 | Maryland: Anne Arundel County, Baltimore County, Calvert County, Carroll County, Howard County, Montgomery County, Prince George's and Baltimore City. | Severe Thunderstorms | MAAC | 625 | 93,000 at peak 133,000 cumulative | 2003-08-29 | 12:00 PM
2003-08-26 | 16:22 | Washington, D.C., Montgomery County, Prince Georges County, Maryland | Severe Thunderstorms | MAAC | 1500 | 153000 | 2003-08-31 | 6:00 PM
2003-09-07 | 5:19 | Upper Michigan Peninsula | Transmission Equipment | MAIN | 310 | 4 (industrial) | 2003-09-07 | 6:00 PM
2003-09-18 | 8:20 | North Eastern North Carolina, Eastern Central , and Northern Virginia | Hurricane Isabel | SERC | 6512 | 1.8 million | 2003-09-29 | 10:42 PM
2003-09-18 | 11:45 | Eastern North Carolina | Hurricane Isabel | SERC | peak 1655 | peak 320,00 9/18/03 7:00 PM | 2003-09-18 | 12:00 AM
2003-09-18 | 12:00 | Central Maryland (Baltimore City, Baltimore County, Anne Arundel County, Hartford County, Montgomery County, Calvert County, Prince George's County, Carroll County and Howard County) | Hurricane Isabel | MAAC | 2000 | 650000 | 2003-09-26 | 10:50 PM
2003-09-18 | 14:00 | Maryland, West Virginia, Virginia and Pennsylvania | Hurricane Isabel | MAAC | 3085 | 237366 | 2003-09-24 | 12:00 AM
2003-09-18 | 15:32 | Triangle and Tridad (Greensboro – High Point) Areas North Carolina - Northern Region | Hurricane Isabel | SERC | 500-700 | Under 50,000 | 2003-09-19 | 5:00 PM
2003-09-18 | 16:20 | District of Columbia, Montgomery and Prince George's Counties, Maryland | Hurricane Isabel | MAAC | 0 | Over 530,000 peak on 9/19/03 | 2003-09-28 | 6:00 PM
2003-09-18 | 21:00 | All PPL including: Williamsport, Harrisburg, Lancaster, Scranton and Allentown areas | Hurricane Isabel | MAAC | 1300 | 425000 | 2003-09-21 | 5:00 PM
2003-10-26 | 1:44 | San Diego County, California | Wild Fire | WECC | 0 | 108,000 (Dist. And Trans. Combined) | 2003-11-18 | 10:54 AM (Trans. Only)
2003-11-05 | 15:16 | Maryland/Virginia border | Tornado | MAAC | 350 | 1 | 2003-11-05 | 3:54 PM
2003-11-12 | 17:00 | Lower Michigan Peninsula | Wind Storm | ECAR | 75-90 | 245000 | 2003-11-16 | 6:00 PM
2003-11-12 | 17:00 | Northern Illinois | High Winds | MAIN | Est. 371.1 | 51000 | 2003-11-12 | 7:00 PM
2003-11-12 | 18:00 | Southeastern Michigan | Storm with High Winds | ECAR | Est. 75 | 160000 | 2003-11-16 | 5:00 PM
2003-11-13 | 6:00 | Central Maryland (Baltimore City, Baltimore County, Anne Arundel County, Harford County, Montgomery County, Calvert County, Prince George's County, Carroll County and Howard County) | High Winds | MAAC | 375 | 110000 | 2003-11-16 | 4:00 PM
2003-11-13 | 7:30 | New York | Storm with High Winds | NPCC | Approx. 180 | 50280 | 2003-11-14 | 6:30 AM
2003-11-13 | 11:00 | Washington, D.C., Montgomery County, Prince Georges County, Md | Major Wind Storm | MAAC | Est. 400 | 104,195 at 5:23 PM 11/13/03 | 2003-11-14 | 7:30 AM
2003-11-13 | 13:40 | Northern Virginia, Richmond area, Eastern Virginia | Wind Storm | SERC | 300 | 67000 | 2003-11-13 | 3:51 PM
2003-12-01 | 18:16 | Cape Cod and part of SE Massachusetts | Wild Fire – Transmission Equipment | NPCC | 630 | 300000 | 2003-12-01 | 8:11 PM
2003-12-04 | 7:00 | Eastern portions of King County and Pierce County | High Winds | WECC | 175 | 200,000 (Peak) | 2003-12-08 | 7:00 AM
2003-12-04 | 22:34 | Northeast Wisconsin and Central/Western Upper Peninsula of Michigan | Fault on 138 KV line | MAIN | 650 | 6 (utilities) | 2003-12-07 | 8:30 AM
2003-12-04 | 22:15 | Upper Peninsula of Michigan and Northeastern Wisconsin | Fault on 138 KV line | MAIN | 500 | 36000 | 2003-12-08 | 8:30 AM
2003-12-05 | 4:49 | State of Florida - Dade County | Transmission Equipment | FRCC | 27 | 16500 | 2003-12-05 | 6:25 AM
2003-12-05 | 7:00 | Northeast Wisconsin and Central/Western Upper Peninsula of Michigan | Transmission Equipment | MAIN | 14 | 2 | 2003-12-05 | 8:00 PM
2003-12-20 | 15:51 | San Francisco, California | Cable Failure | WECC | 150 | 120000 | 2003-12-21 | 11:45 PM
2003-12-22 | 11:15 | Central California Coast | Earthquake | WECC | 220 | 109750 | 2003-12-22 | 11:16 AM
2003-12-28 | 21:00 | Northern California | Winter Storm | WECC | 160 | 241000 | 2004-01-01 | 11:30 AM
1 = Estimated Values.
* Information as provided by the respondent. The occurrence is, however, associated with the
massive blackout of August 14, 2003. For further information, refer to the Interim Report:
Causes of the August 14 Blackout in the United States and Ca0da, November 2003 at
http://www.energy.gov/engine/content.do.
Note: North American Electric Reliability Council region acronyms are defined in the glossary.
Source: Form EIA-417, "Electric Emergency Incident and Disturbance Report."