## Sheet1
OE-417 Electric Emergency and Disturbance (OE-417) Events, 20141
Date Event Began | Time Event Began | Date of Restoration | Time of Restoration | Area Affected | NERC Region | Event Type | Demand Loss (MW) | Number of Customers Affected
January |  |  |  | 3
2014-01-06 | 19:50 | 2014-01-06 | 20:44 | District of Columbia | RFC | Voltage Reduction due to Severe Weather - Cold | Unknown | Unknown
2014-01-06 | 19:50 | 2014-01-06 | 20:44 | Unknown | RFC | Voltage Reduction due to Severe Weather - Cold | Unknown | Unknown
2014-01-06 | 19:52 | 2014-01-06 | 20:45 | Delaware | RFC | Voltage Reduction due to Severe Weather - Cold | Unknown | Unknown
2014-01-06 | 20:45 | 2014-01-07 | 21:00 | Unknown | RFC | Public Appeal due to Severe Weather - Cold | Unknown | Unknown
2014-01-06 | 19:50 | 2014-01-06 | 20:49 | Pennsylvania | RFC | Voltage Reduction due to Severe Weather - Cold | 200 | 62000
2014-01-06 | 19:50 | 2014-01-06 | 20:44 | Pennsylvania | RFC | Voltage Reduction due to Severe Weather - Cold | Unknown | Unknown
2014-01-06 | 14:37 | 2014-01-06 | 14:38 | Utah | RFC | Vandalism | N/A | N/A
2014-01-06 | 22:00 | 2014-01-06 | 22:01 | Kentucky | RFC | Public Appeal due to Severe Weather - Cold | Unknown | Unknown
2014-01-06 | 7:01 | 2014-01-07 | 9:00 | Texas | TRE | Public Appeal due to Severe Weather - Cold | N/A | N/A
2014-01-07 | 21:00 | 2014-01-08 | 9:00 | Unknown | RFC | Public Appeal due to Severe Weather - Cold | Unknown | Unknown
2014-01-07 | 6:18 | 2014-01-07 | 6:19 | Pennsylvania | RFC | Severe Weather - Cold | Unknown | Unknown
2014-01-07 | 7:58 | 2014-01-07 | 11:00 | North Carolina | SERC | Voltage Reduction; Public Appeal due to Severe Weather - Cold | 14435 | Unknown
2014-01-07 | 16:15 | 2014-01-08 | 13:20 | North Carolina | SERC | Public Appeal due to Severe Weather - Cold | Unknown | Unknown
2014-01-07 | 6:00 | 2014-01-07 | 8:30 | Northeast Tennessee | SERC | Public Appeal due to Severe Weather - Cold | Unknown | Unknown
2014-01-07 | 6:00 | 2014-01-07 | 8:30 | Tennessee | SERC | Public Appeal due to Severe Weather - Cold | Unknown | Unknown
2014-01-07 | 18:00 | 2014-01-07 | 23:00 | South Carolina | SERC | Voltage Reduction; Public Appeal; Load Shed 100+MW due to Severe Weather - Cold | 4853 | 677858
2014-01-07 | 10:59 | 2014-01-09 | 9:00 | Illinois | RFC | Fuel Supply Emergency - Natural Gas | N/A | N/A
2014-01-07 | 9:30 | 2014-01-08 | 9:30 | Piedmont North Carolina, Piedmont South Carolina | SERC | Fuel Supply Emergency due to Severe Weather - Cold | Unknown | Unknown
2014-01-08 | 5:00 | 2014-01-08 | 6:30 | Unknown | RFC | Voltage Reduction due to Severe Weather - Cold | 576 | Unknown
2014-01-08 | 6:00 | 2014-01-08 | 9:00 | South Carolina | SERC | Voltage Reduction; Public Appeal; Load Shed 100+MW due to Severe Weather - Cold | 4545 | 677858
2014-01-13 | 16:44 | 2014-01-13 | 16:45 | Arizona | WECC | Physical Attack - Vandalism | N/A | N/A
2014-01-15 | 14:32 | 2014-01-15 | 14:45 | Utah | WECC | Physical Attack - Vandalism | Unknown | Unknown
2014-01-16 | 12:30 | 2014-01-16 | 13:57 | Arizona | WECC | Physical Attack - Vandalism | N/A | N/A
2014-01-17 | 12:20 | 2014-01-17 | 12:20 | Ohio | RFC | Suspected Physical Attack | Unknown | Unknown
2014-01-17 | 10:30 | 2014-01-28 | 9:00 | Illinois | RFC | Fuel Supply Emergency - Natural Gas | Unknown | Unknown
2014-01-18 | 17:39 | Unknown | Unknown | Unknown | RFC | Electrical System Islanding | Unknown | Unknown
2014-01-18 | 9:00 | 2014-01-18 | 9:45 | Texas | TRE | Public Appeal to Reduce Electricity Usage | Unknown | Unknown
2014-01-21 | 17:00 | Unknown | Unknown | New Jersey | RFC | Physical Attack - Vandalism | Unknown | Unknown
2014-01-21 | 12:14 | 2014-01-21 | 12:39 | Missouri | SERC | Physical Attack - Vandalism | 10 | Unknown
2014-01-22 | 13:55 | 2014-01-22 | 14:55 | Wisconsin | MRO | Physical Attack - Vandalism | Unknown | Unknown
2014-01-22 | 9:45 | 2014-01-22 | 20:19 | Ohio | RFC | Physical Attack - Vandalism | Unknown | Unknown
2014-01-22 | 21:15 | 2014-01-23 | 3:08 | Burlington County, New Jersey | RFC | Suspected Physical Attack | Unknown | Unknown
2014-01-22 | 0:30 | 2014-01-22 | 2:45 | Wisconsin | MRO | Physical Attack - Vandalism | Unknown | Unknown
2014-01-23 | 4:00 | 2014-01-24 | 12:00 | Tennessee | SERC | Public Appeal due to Severe Weather - Cold | Unknown | Unknown
2014-01-23 | 21:17 | 2014-01-24 | 17:00 | Wynoochee, Washington | WECC | Physical Attack - Vandalism | Unknown | Unknown
2014-01-23 | 13:04 | 2014-01-24 | 9:00 | Maryland | RFC | Public Appeal due to Severe Weather - Cold | Unknown | Unknown
2014-01-23 | 16:00 | 2014-01-24 | 12:00 | Tennessee | SERC | Public Appeal due to Severe Weather - Cold | Unknown | Unknown
2014-01-24 | 0:00 | 2014-04-09 | 11:53 | Wisconsin | RFC | Fuel Supply Emergency - Coal | Unknown | Unknown
2014-01-24 | 15:30 | 2014-01-24 | 17:00 | Wisconsin | MRO | Physical Attack - Vandalism | Unknown | Unknown
2014-01-25 | 10:00 | 2014-01-25 | 11:00 | Madison, Wisconsin | MRO | Physical Attack - Vandalism | Unknown | Unknown
2014-01-26 | 23:00 | Unknown | Unknown | New Jersey | RFC | Physical Attack | Unknown | Unknown
2014-01-26 | 21:00 | 2014-01-27 | 11:00 | Oregon | WECC | Physical Attack - Vandalism | N/A | N/A
2014-01-27 | 14:20 | 2014-01-28 | 21:00 | Maryland | RFC | Public Appeal due to Severe Weather - Cold | Unknown | Unknown
2014-01-29 | 16:00 | 2014-01-29 | 16:44 | Unknown | MRO | Physical Attack - Vandalism | Unknown | Unknown
2014-01-30 | 15:00 | Unknown | Unknown | Arizona | WECC | Physical Attack - Vandalism | Unknown | Unknown
February
2014-02-05 | 0:00 | 2014-02-09 | 18:00 | Maryland, West Virginia | RFC | Severe Weather - Snow/Ice | Unknown | 101580
2014-02-05 | 1:00 | 2014-02-09 | 20:40 | Pennsylvania | RFC | Severe Weather - Snow/Ice | Unknown | 144000
2014-02-05 | 5:00 | 2014-02-05 | 5:01 | Pennsylvania | RFC | Severe Weather - Snow/Ice | Unknown | 715000
2014-02-05 | 7:00 | 2014-02-23 | 7:00 | New York | NPCC | Fuel Supply Emergency - Coal | 300 | Unknown
2014-02-05 | 7:35 | 2014-02-07 | 4:03 | Lancaster Region, Pennsylvania | RFC | Severe Weather - Snow/Ice | Unknown | 62159
2014-02-05 | 8:05 | 2014-02-05 | 8:06 | Baltimore, Maryland | RFC | Severe Weather - Ice | 800 | 181000
2014-02-06 | 13:00 | 2014-02-06 | 22:00 | California | WECC | Fuel Supply Emergency - Natural Gas | 4000 | Unknown
2014-02-06 | 13:05 | 2014-02-06 | 19:15 | Northern California | WECC | Fuel Supply Emergency - Natural Gas | 160 | Unknown
2014-02-06 | 13:58 | 2014-02-06 | 20:40 | Rio Grande Valley Texas | TRE | Public Appeal to Reduce Electricity Usage | Unknown | Unknown
2014-02-06 | 14:15 | 2014-02-06 | 19:39 | California | WECC | Fuel Supply Emergency - Natural Gas | 611 | Unknown
2014-02-06 | 15:35 | 2014-02-07 | 11:30 | ERCOT Region Texas | TRE | Public Appeal to Reduce Electricity Usage | Unknown | Unknown
2014-02-07 | 7:00 | 2014-03-21 | 8:00 | Niagara County New York | NPCC | Fuel Supply Emergency - Coal | 675 | Unknown
2014-02-07 | 16:30 | 2014-02-08 | 9:00 | ERCOT Region Texas | TRE | Public Appeal to Reduce Electricity Usage | Unknown | Unknown
2014-02-07 | 16:50 | 2014-02-07 | 20:30 | Texas | TRE | Public Appeal to Reduce Electricity Usage | Unknown | Unknown
2014-02-12 | 7:48 | 2014-02-15 | 4:30 | Northern/Northeastern Georgia | SERC | Severe Weather - Snow/Ice | 1246 | 373835
2014-02-12 | 11:03 | 2014-02-15 | 8:40 | South Carolina | SERC | Severe Weather - Snow/Ice | 700 | 120124
2014-02-12 | 12:10 | 2014-02-15 | 15:20 | North Carolina | SERC | Severe Weather - Snow/Ice | Unknown | 200000
2014-02-12 | 14:15 | 2014-02-12 | 14:16 | Vermont | NPCC | Physical Attack - Vandalism | Unknown | Unknown
2014-02-14 | 13:00 | 2014-02-14 | 15:00 | Portland, Oregon | WECC | Physical Attack - Vandalism | Unknown | Unknown
2014-02-18 | 18:43 | 2014-02-18 | 18:44 | Bend, Oregon | WECC | Physical Attack - Vandalism | N/A | N/A
2014-02-20 | 16:40 | 2014-02-21 | 23:59 | Missouri, Illinois | SERC | Severe Weather - Snow/Ice | Unknown | 66000
2014-02-21 | 2:53 | 2014-02-21 | 21:00 | Northern/Northeastern Georgia | SERC | Severe Weather - Thunderstorms/High Winds | 221 | 66445
March
2014-03-02 | 19:00 | 2014-03-04 | 9:00 | ERCOT Region Texas | TRE | Public Appeal due to Severe Weather - Cold | N/A | N/A
2014-03-03 | 17:25 | 2014-03-03 | 17:25 | New York | NPCC | Suspected Physical Attack | Unknown | Unknown
2014-03-03 | 6:40 | 2014-03-03 | 15:28 | Tennessee | SERC | Severe Weather - Winter Storm | Unknown | 65904
2014-03-03 | 1:48 | 2014-03-03 | 1:49 | Mid-Columbia River Generation, Washington | WECC | Fuel Supply Emergency - Hydro | 630 | Unknown
2014-03-04 | 9:06 | 2014-03-17 | 9:06 | Weston, Wisconsin | MRO | Fuel Supply Emergency - Coal | Unknown | Unknown
2014-03-05 | 17:06 | 2014-03-05 | 17:07 | Salt Lake City, Utah | WECC | Physical Attack | Unknown | Unknown
2014-03-07 | 3:30 | 2014-03-07 | 21:00 | Triad, North Carolina | SERC | Severe Weather - Winter Storm | 1500 | 370900
2014-03-11 | 0:00 | 2014-03-13 | 0:00 | Boone County, Iowa | MRO | Suspected Physical Attack | Unknown | Unknown
2014-03-12 | 19:35 | 2014-03-13 | 12:00 | North Carolina | SERC | Severe Weather - High Winds | 250 | 61377
2014-03-14 | 12:34 | 2014-03-14 | 16:45 | Boone County, Iowa | MRO | Physical Attack - Vandalism | Unknown | Unknown
2014-03-17 | 17:25 | 2014-03-18 | 0:56 | Glendale, Arizona | WECC | Physical Attack - Sabatoge | N/A | N/A
2014-03-20 | 0:00 | 2014-03-20 | 0:01 | New York | NPCC | Suspected Cyber Attack | Unknown | Unknown
2014-03-24 | 11:07 | 2014-03-24 | 11:08 | Salt Lake City, Utah | WECC | Physical Attack - Vandalism | N/A | N/A
2014-03-26 | 16:00 | 2014-04-10 | 12:00 | Iowa | MRO | Physical Attack | N/A | N/A
2014-03-26 | 13:37 | 2014-03-26 | 14:33 | Montana | WECC | Electrical System Separation (Islanding) | Unknown | Unknown
2014-03-31 | 15:41 | 2014-03-31 | 20:08 | Puerto Rico | N/A | System Wide Voltage Reduction | Unknown | Unknown
April
2014-04-03 | 0:00 | Unknown | Unknown | Texas | TRE | Fuel Supply Emergency - Coal | Unknown | Unknown
2014-04-03 | 14:45 | 2014-04-09 | 11:53 | Wisconsin | MRO | Fuel Supply Emergency - Coal | Unknown | Unknown
2014-04-04 | 3:30 | 2014-04-04 | 8:15 | Central Arkansas | SERC | Severe Weather - Wind | Unknown | 57200
2014-04-08 | 13:00 | 2014-04-08 | 13:01 | Davis, California | WECC | Physical Attack - Vandalism | Unknown | Unknown
2014-04-08 | 11:09 | 2014-04-08 | 11:20 | Puerto Rico | N/A | Voltage Reduction | Unknown | Unknown
2014-04-12 | 18:15 | 2014-04-14 | 9:00 | Western and Central Michigan | RFC | Severe Weather - Thunderstorms | Unknown | 50000
2014-04-12 | 20:00 | 2014-04-15 | 19:30 | Michigan | RFC | Severe Weather | Unknown | 164000
2014-04-23 | 19:45 | 2014-04-23 | 20:37 | Baton Rouge, Louisiana | SERC | Load shedding of 100 Megawatts | 163 | 28000
2014-04-24 | 15:02 | 2014-04-24 | 17:13 | Alberta, Canada | WECC | Electrical System Separation (Islanding) | Unknown | Unknown
2014-04-25 | 7:00 | 2014-04-25 | 7:30 | Delaware | RFC | Physical Attack - Vandalism | Unknown | Unknown
2014-04-27 | 9:15 | Unknown | Unknown | Alberta, Canada | WECC | Electrical System Separation (Islanding) | 9750 | 4000000
2014-04-27 | 12:07 | 2014-04-27 | 12:09 | Albany, Oregon | WECC | Physical Attack - Vandalism | Unknown | Unknown
2014-04-29 | 23:30 | 2014-04-29 | 12:30 | Mississippi, Alabama | SERC | Severe Weather - Thunderstorms | 355 | 106648
2014-04-29 | 9:37 | 2014-05-01 | 9:00 | Northeastern Mississippi, Northern Alabama | SERC | Severe Weather - Thunderstorms | Unknown | 57000
2014-04-30 | 3:50 | 2014-04-30 | 14:00 | Alabama, Florida, Georgia | SERC | Severe Weather - Thunderstorms | 296 | 89000
May
2014-05-08 | 8:39 | 2014-05-08 | 8:40 | Imperial Valley, California | WECC | Physical Attack | Unknown | Unknown
2014-05-08 | 1:00 | 2014-05-08 | 1:01 | Mississippi | SERC | Physical Attack | Unknown | Unknown
2014-05-09 | 18:00 | 2014-05-11 | 13:00 | Indiana | RFC | Severe Weather - Heavy Winds | Unknown | 56000
2014-05-11 | 18:38 | 2014-05-11 | 18:39 | MISO North, Minnesota | MRO | Physical Attack - Vandalism | Unknown | Unknown
2014-05-12 | 13:14 | 2014-05-12 | 13:15 | Layton, Utah | WECC | Physical Attack - Vandalism | Unknown | Unknown
2014-05-14 | 15:34 | Unknown | Unknown | San Diego & Orange Counties, California | WECC | Public Appeal to Reduce Electricity Usage - Wild Fires | N/A | 426
2014-05-15 | 10:43 | Unknown | Unknown | San Diego & Orange Counties, California | WECC | Public Appeal to Reduce Electricity Usage - Wild Fires | 3300 | 1400000
2014-05-15 | 12:10 | 2014-05-15 | 12:13 | Whiting, Indiana | RFC | Suspected Physical Attack | N/A | N/A
2014-05-16 | 10:43 | 2014-05-16 | 21:00 | San Diego & Orange Counties, California | WECC | Public Appeal to Reduce Electricity Usage - Wild Fires | 3900 | 1400000
2014-05-20 | 7:01 | 2014-05-20 | 7:02 | Duchesne County, Utah | WECC | Physical Attack - Vandalism | N/A | N/A
2014-05-23 | 15:00 | 2014-05-25 | 19:00 | North Carolina | SERC | Physical Attack - Vandalism | Unknown | Unknown
2014-05-26 | 12:31 | 2014-05-26 | 13:18 | British Columbia & Alberta, Canada | WECC | Electrical System Separation (Islanding) | Unknown | Unknown
2014-05-27 | 11:00 | 2014-05-27 | 16:53 | Phoenix, Arizona | WECC | Physical Attack - Vandalism | N/A | N/A
June
2014-06-03 | 1:38 | 2014-06-03 | 1:43 | Texas | ERCOT | Physical Attack - Vandalism | Unknown | Unknown
2014-06-03 | 15:32 | 2014-06-03 | 15:59 | Alberta, Canada | WECC | Electrical System Islanding | 338 | N/A
2014-06-05 | 3:00 | 2014-06-07 | 23:45 | Shelby County, Tennessee | SERC | Severe Weather - Thunderstorms | 494 | 38500
2014-06-06 | 13:00 | Unknown | Unknown | Texas | ERCOT | Fuel Supply Emergency - Coal | Unknown | Unknown
2014-06-05 | 13:06 | 2014-06-05 | 13:07 | West Tennessee | SERC | Severe Weather - Thunderstorms | Unknown | 56475
2014-06-07 | 23:00 | 2014-06-08 | 5:30 | North and Central , Alabama | SERC | Severe Weather - Thunderstorms | 217 | 65000
2014-06-09 | 11:07 | 2014-06-09 | 11:30 | Alberta, Canada | WECC | Electrical System Islanding | Unknown | Unknown
2014-06-11 | 9:30 | 2014-06-11 | 9:31 | Nogales, Arizona | WECC | Suspected Physical Attack | N/A | N/A
2014-06-10 | 21:50 | 2014-06-11 | 14:30 | West Virginia | RFC | Severe Weather - Thunderstorms | Unknown | 66383
2014-06-11 | 16:00 | 2014-06-11 | 16:30 | Southern Mississippi | SERC | Physical Attack - Vandalism | N/A | N/A
2014-06-12 | 9:10 | 2014-06-12 | 9:11 | Somervell County, Texas | ERCOT | Suspected Physical Attack | Unknown | Unknown
2014-06-15 | 0:00 | 2014-06-15 | 1:00 | Central Minnesota | MRO | Severe Weather - Thunderstorms | Unknown | 55951
2014-06-18 | 9:52 | 2014-06-18 | 19:00 | Washington | WECC | Physical Attack - Vandalism | Unknown | Unknown
2014-06-18 | 17:00 | 2014-06-20 | 15:00 | Southeast Michigan | RFC | Severe Weather - Thunderstorms | Unknown | 138802
2014-06-19 | 8:47 | 2014-06-19 | 8:48 | Nashville, Tennessee | SERC | Physical Attack - Vandalism | Unknown | Unknown
2014-06-24 | 14:54 | 2014-06-24 | 14:55 | Nashville, Tennessee | SERC | Physical Attack - Vandalism | Unknown | Unknown
2014-06-27 | 13:21 | Unknown | Unknown | Wisconsin | MRO | Fuel Supply Emergency - Coal | Unknown | Unknown
2014-06-30 | 17:55 | 2014-07-01 | 2:53 | Southeast Wisconsin | MRO | Severe Weather - Thunderstorms | 424 | 120000
2014-06-30 | 20:00 | 2014-07-02 | 18:30 | Illinois | RFC | Severe Weather - Thunderstorms | Unknown | 420000
2014-06-30 | 23:20 | 2014-07-01 | 17:00 | North Central Indiana | RFC | Severe Weather - Thunderstorms | Unknown | 127000
July
2014-07-01 | 5:00 | 2014-07-02 | 2:00 | Indiana, Michigan | RFC | Severe Weather - Thunderstorms | Unknown | 57237
2014-07-02 | 8:39 | 2014-07-28 | 15:13 | Wisconsin | MRO | Fuel Supply Emergency - Coal | Unknown | Unknown
2014-07-01 | 3:30 | Unknown | Unknown | Southwest Michigan | RFC | Severe Weather - Thunderstorms | Unknown | 51000
2014-07-01 | 4:00 | 2014-07-03 | 23:30 | Southeast Michigan | RFC | Severe Weather - Thunderstorms | Unknown | 140000
2014-07-03 | 18:00 | 2014-07-06 | 12:00 | Pennsylvania | RFC | Severe Weather - Thunderstorms | Unknown | 298165
2014-07-03 | 22:55 | 2014-07-04 | 1:50 | Vermont, New Hampshire, Maine, Rhode Island, Massachusetts, Connecticut | NPCC | Severe Weather - Thunderstorms | Unknown | 64000
2014-07-08 | 20:30 | 2014-07-11 | 23:00 | Pennsylvania | RFC | Severe Weather - Thunderstorms | Unknown | 260000
2014-07-08 | 21:31 | Unknown | Unknown | Maryland | RFC | Severe Weather - Thunderstorms | Unknown | 56600
2014-07-08 | 18:00 | 2014-07-11 | 17:53 | Eastern Pennsylvania | RFC | Severe Weather - Thunderstorms | Unknown | 69000
2014-07-08 | 17:30 | 2014-07-12 | 23:20 | Maryland, West Virginia | RFC | Severe Weather - Thunderstorms | Unknown | 96000
2014-07-08 | 17:30 | 2014-07-12 | 23:30 | West Virginia | RFC | Severe Weather - Thunderstorms | Unknown | 71000
2014-07-08 | 19:21 | 2014-07-11 | 7:00 | Upstate New York | NPCC | Severe Weather - Thunderstorms | Unknown | 65000
2014-07-08 | 17:30 | 2014-07-10 | 15:00 | Central and Northeastern Pennsylvania | RFC | Severe Weather - Thunderstorms | Unknown | 66000
2014-07-14 | 16:00 | 2014-07-14 | 16:15 | Washington | WECC | Suspected Physical Attack | Unknown | Unknown
2014-07-23 | 19:14 | 2014-07-24 | 0:23 | Arkansas, Louisiana | SERC | Severe Weather - Thunderstorms | Unknown | 57299
2014-07-24 | 16:29 | 2014-07-24 | 23:32 | California | WECC | Load shedding of 100 Megawatts | 126 | 26856
2014-07-27 | 17:00 | 2014-07-28 | 23:00 | Southeast Michigan | RFC | Severe Weather - Thunderstorms | Unknown | 156611
2014-07-27 | 23:00 | 2014-07-28 | 4:00 | Central California | WECC | Uncontrolled Loss of 300 Megawatts | 480 | 1
August
2014-08-01 | 15:03 | 2014-08-01 | 15:04 | Utah | WECC | Physical Attack | Unknown | Unknown
2014-08-13 | 6:08 | 2014-08-13 | 6:34 | Alberta, Canada | WECC | Electrical System Separation (Islanding) | 370 | Unknown
2014-08-20 | 1:21 | 2014-08-20 | 1:41 | Alberta, Canada | WECC | Electrical System Separation (Islanding) | Unknown | Unknown
2014-08-23 | 16:39 | 2014-08-24 | 1:46 | City of Highland, Illinois | RFC | Operational Failure of Electrical System | 31 | 6549
2014-08-24 | 3:20 | 2014-08-25 | 7:05 | North of San Francisco, California | WECC | Earthquake | 95 | 70000
2014-08-26 | 15:30 | Unknown | Unknown | Southeast Michigan | RFC | Severe Weather - Thunderstorms | Unknown | Unknown
2014-08-27 | 12:49 | 2014-08-27 | 13:30 | Delaware | RFC | Suspected Physical Attack | Unknown | Unknown
2014-08-30 | 15:30 | 2014-09-01 | 14:30 | Luzerne County, Pennsylvania | RFC | Suspected Physical Attack | Unknown | Unknown
September
2014-09-05 | 20:00 | Unknown | Unknown | Michigan | RFC | Severe Weather - Thunderstorms | Unknown | 324000
2014-09-05 | 16:30 | 2014-09-06 | 14:00 | Illinois | RFC | Severe Weather - Thunderstorms | Unknown | 180400
2014-09-05 | 19:14 | 2014-09-06 | 13:00 | Lower Peninsula of Michigan | RFC | Severe Weather - Thunderstorms | 50 | 60000
2014-09-09 | 8:18 | 2014-09-09 | 23:59 | Alberta, Canada | WECC | Electrical System Separation (Islanding) | Unknown | Unknown
2014-09-11 | 4:56 | 2014-09-11 | 5:37 | Alberta, Canada | WECC | Electrical System Separation (Islanding) | Unknown | Unknown
2014-09-14 | 21:50 | 2014-09-17 | 15:08 | Oregon | WECC | Electrical System Separation (Islanding) | 1 | 123
2014-09-16 | 11:56 | 2014-09-16 | 11:57 | California | WECC | Physical Attack - Vandalism | Unknown | Unknown
2014-09-17 | 13:30 | 2014-09-17 | 14:00 | Michigan | RFC | Suspected Physical Attack - Suspcious Activity | Unknown | Unknown
2014-09-19 | 14:20 | 2014-09-23 | 13:10 | Estacada, Oregon | WECC | Electrical System Separation (Islanding) | 1 | 123
2014-09-22 | 11:00 | 2014-09-22 | 11:01 | Northeast Minnesota | MRO | Fuel Supply Emergency - Coal | 1000 | 140000
2014-09-23 | 1:13 | 2014-09-23 | 3:00 | New York | NPCC | Physical Attack - Suspcious Activity | N/A | N/A
2014-09-21 | 13:30 | Unknown | Unknown | New York | NPCC | Physical Attack - Suspcious Activity | Unknown | Unknown
2014-09-24 | 11:30 | 2014-09-24 | 15:43 | Washington | WECC | Physical Attack - Vandalism | Unknown | Unknown
October
2014-10-02 | 15:00 | 2014-10-02 | 15:01 | Cave Junction, Oregon | WECC | Suspected Physical Attack - Vandalism | Unknown | Unknown
2014-10-02 | 22:15 | Unknown | Unknown | Arkansas | SERC | Severe Weather - Thunderstorms | Unknown | 67300
2014-10-02 | 16:00 | 2014-10-07 | 10:00 | Texas | TRE | Severe Weather - Thunderstorms | Unknown | 500000
2014-10-06 | 10:52 | 2014-10-07 | 0:52 | Houston, Texas | TRE | Severe Weather - Thunderstorms | 292 | 129237
2014-10-07 | 12:00 | 2014-10-07 | 12:01 | Maryland | RFC | Suspected Physical Attack - Vandalism | Unknown | Unknown
2014-10-08 | 16:47 | 2014-10-08 | 18:29 | Rio Grande Valley Texas | TRE | Public Appeal to Reduce Electricity Usage; Load Shed of 100 MW | Unknown | Unknown
2014-10-08 | 16:49 | 2014-10-08 | 18:23 | Rio Grande Valley Texas | TRE | Public Appeal to Reduce Electricity Usage; Load Shed of 100 MW | 585 | 120000
2014-10-09 | 9:27 | Unknown | Unknown | Rio Grande Valley Texas | TRE | Public Appeal to Reduce Electricity Usage | Unknown | 2800
2014-10-13 | 12:45 | 2014-10-13 | 16:15 | Louisiana | SERC | Severe Weather - Thunderstorms | Unknown | 68600
2014-10-14 | 7:33 | 2014-10-14 | 7:34 | Oregon | WECC | Suspected Physical Attack - Vandalism | Unknown | Unknown
2014-10-14 | 18:20 | 2014-10-14 | 18:28 | Puerto Rico | N/A | Voltage Reduction | Unknown | Unknown
2014-10-14 | 5:44 | 2014-10-14 | 17:50 | Alabama, Florida, Georgia | SERC | Severe Weather - Thunderstorms | 191 | 57475
2014-10-15 | 7:46 | 2014-10-15 | 7:47 | Oregon | WECC | Suspected Physical Attack - Vandalism | Unknown | Unknown
2014-10-16 | 9:12 | 2014-10-17 | 15:00 | Garden City, Kansas | MRO | Suspected Physical Attack - Vandalism | Unknown | Unknown
2014-10-16 | 13:25 | 2014-10-16 | 17:26 | Manitoba | MRO | Suspected Physical Attack | 129 | Unknown
2014-10-20 | 0:00 | Unknown | Unknown | Howard County, Texas | MRO | Suspected Physical Attack - Vandalism | Unknown | Unknown
2014-10-21 | 8:25 | 2014-10-21 | 10:08 | Carmel, Indiana | MRO | Suspected Cyber Attack | Unknown | Unknown
2014-10-22 | 22:46 | 2014-10-22 | 22:47 | New Hampshire, Maine, Massachusetts, Rhode Island, Connecticut, Vermont | NPCC | Severe Weather | Unknown | 66650
2014-10-24 | 18:16 | 2014-10-25 | 13:51 | Enfield, Connecticut | NPCC | Suspected Physical Attack - Vandalism | Unknown | Unknown
2014-10-24 | 16:00 | 2014-10-24 | 17:50 | Howard County, Texas | MRO | Suspected Physical Attack - Vandalism | Unknown | Unknown
2014-10-25 | 16:00 | 2014-10-25 | 22:00 | Greater Portland and Salem, Oregon | WECC | Severe Weather - Wind | 216 | 78000
2014-10-25 | 18:00 | Unknown | Unknown | King County, Thurston County and Kitsap County, Washington | WECC | Severe Weather - Wind | 154 | 96000
November
2014-11-01 | 1:00 | 2014-11-01 | 1:01 | Portland, Oregon | WECC | Suspected Physical Attack - Vandalism | Unknown | Unknown
2014-11-02 | 13:46 | Unknown | Unknown | Massachusetts, Maine, Vermont, New Hampshire, Rhode Island, Connecticut | NPCC | Severe Weather - Winter Storm | Unknown | 63719
2014-11-11 | 18:00 | 2014-11-14 | 15:00 | Washington | WECC | Severe Weather - Wind | 132 | 68000
2014-11-12 | 2:59 | 2014-11-12 | 3:00 | Unknown | SERC | Suspected Physical Attack - Vandalism | Unknown | Unknown
2014-11-13 | 7:07 | 2014-11-13 | 7:08 | Howard County,Texas | MRO | Suspected Physical Attack - Vandalism | Unknown | Unknown
2014-11-14 | 9:50 | 2014-11-14 | 13:18 | Estacada, Oregon | WECC | Electrical System Islanding | 1 | 123
2014-11-19 | 14:44 | 2014-11-19 | 14:45 | Victorville, California | WECC | Suspected Physical Attack - Vandalism | Unknown | Unknown
2014-11-21 | 20:29 | 2014-11-23 | 0:16 | Twin Falls, Idaho | WECC | Suspected Physical Attack - Vandalism | Unknown | Unknown
2014-11-21 | 11:26 | 2014-11-23 | 17:20 | Sand Springs - Fort Rock, Oregon | WECC | Suspected Physical Attack - Vandalism | Unknown | Unknown
2014-11-24 | 0:00 | Unknown | Unknown | Nebraska, Kansas, Texas, Arkansas, Louisiana, New Mexico | SPP | Fuel Supply Emergency - Coal | Unknown | Unknown
2014-11-24 | 12:00 | 2014-11-27 | 13:00 | Michigan | RFC | Severe Weather - Wind | Unknown | 186154
2014-11-26 | 17:50 | 2014-11-28 | 7:00 | New Hampshire, Massachusetts, Maine, Rhode Island, Connecticut, Vermont | NPCC | Severe Weather - Winter Storm | Unknown | 79530
December
2014-12-01 | 10:44 | 2014-12-01 | 10:45 | Fayetteville, North Carolina | SERC | Suspected Physical Attack - Vandalism | Unknown | Unknown
2014-12-03 | 12:15 | 2014-12-03 | 12:16 | Maine | NPCC | Suspected Physical Attack - Vandalism | Unknown | Unknown
2014-12-11 | 6:40 | Unknown | Unknown | Northern California | WECC | Severe Weather- High Winds | Unknown | Unknown
2014-12-11 | 7:21 | 2014-12-11 | 21:53 | San Francisco, California | WECC | Distribution Interruption - Unknown Cause | 225 | 75000
2014-12-11 | 23:15 | Unknown | Unknown | Northern California | WECC | Severe Weather- High Winds | Unknown | Unknown
2014-12-11 | 16:05 | 2014-12-11 | 21:00 | Portland, Oregon | WECC | Severe Weather- High Winds | 250 | 85470
2014-12-11 | 17:00 | 2014-12-12 | 10:00 | Kitsap, Thurston, Whatcom counties Washington | WECC | Severe Weather- High Winds | 116 | 264000
2014-12-17 | 11:00 | 2014-12-17 | 12:15 | Washington | WECC | Suspected Physical Attack | Unknown | Unknown
2014-12-30 | 15:50 | 2014-12-31 | 11:00 | New Hampshire, Massachusetts, Maine, Rhode Island, Connecticut, Vermont | NPCC | Suspected Cyber Attack | Unknown | Unknown
2014-12-30 | 13:08 | 2015-01-01 | 16:50 | Northern California | WECC | Severe Weather- High Winds | 127 | 84500
1 Source: Submissions of all Electric Emergency Incident and Disturbance Reports (OE-417), http://www.oe.netl.doe.gov/oe417.aspx
2 This event was incorrectly listed as occuring in April 2014 in previous postings. It has been corrected in this release.

## Sheet2
OE-417 Electric Emergency and Disturbance (OE-417) Events, 20141
Date Event Began | Time Event Began | Area Affected | Event Type | NERC Region | Demand Loss (MW) | Number of Customers Affected | Date of Restoration | Time of Restoration
2014-01-06 | 19:50 | District of Columbia | Voltage Reduction due to Severe Weather - Cold | RFC | 0 | 0 | 2014-01-06 | 20:44
2014-01-06 | 19:50 | unknown | Voltage Reduction due to Severe Weather - Cold | RFC | 0 | 0 | 2014-01-06 | 20:44
2014-01-06 | 19:52 | Delaware | Voltage Reduction due to Severe Weather - Cold | RFC | 0 | 0 | 2014-01-06 | 20:45
2014-01-06 | 20:45 | unknown | Public Appeal due to Severe Weather - Cold | RFC | 0 | 0 | 2014-01-07 | 21:00
2014-01-06 | 19:50 | Pennsylvania | Voltage Reduction due to Severe Weather - Cold | RFC | 200 | 62000 | 2014-01-06 | 20:49
2014-01-06 | 19:50 | Pennsylvania | Voltage Reduction due to Severe Weather - Cold | RFC | 0 | 0 | 2014-01-06 | 20:44
2014-01-06 | 14:37 | Utah | Vandalism | RFC | 0 | 0 | 2014-01-06 | 14:38
2014-01-06 | 22:00 | Kentucky | Public Appeal due to Severe Weather - Cold | RFC | 0 | 0 | 2014-01-06 | 22:01
2014-01-06 | 7:01 | Texas | Public Appeal due to Severe Weather - Cold | TRE | 0 | 0 | 2014-01-07 | 9:00
2014-01-07 | 21:00 | unknown | Public Appeal due to Severe Weather - Cold | RFC | 0 | 0 | 2014-01-08 | 9:00
2014-01-07 | 6:18 | Pennsylvania | Severe Weather - Cold | RFC | 0 | 0 | 2014-01-07 | 6:19
2014-01-07 | 7:58 | North Carolina | Voltage Reduction; Public Appeal due to Severe Weather - Cold | SERC | 14435 | 0 | 2014-01-07 | 11:00
2014-01-07 | 16:15 | North Carolina | Public Appeal due to Severe Weather - Cold | SERC | 0 | 0 | 2014-01-08 | 13:20
2014-01-07 | 6:00 | Northeast Tennessee | Public Appeal due to Severe Weather - Cold | SERC | 0 | 0 | 2014-01-07 | 8:30
2014-01-07 | 6:00 | Tennessee | Public Appeal due to Severe Weather - Cold | SERC | 0 | 0 | 2014-01-07 | 8:30
2014-01-07 | 18:00 | South Carolina | Voltage Reduction; Public Appeal; Load Shed 100+MW due to Severe Weather - Cold | SERC | 4853 | 677858 | 2014-01-07 | 23:00
2014-01-07 | 10:59 | Illinois | Fuel Supply Emergency - Natural Gas | RFC | 0 | 0 | 2014-01-09 | 9:00
2014-01-07 | 9:30 | Piedmont North Carolina, Piedmont South Carolina | Fuel Supply Emergency due to Severe Weather - Cold | SERC | 0 | 0 | 2014-01-08 | 9:30
2014-01-08 | 5:00 | unknown | Voltage Reduction due to Severe Weather - Cold | RFC | 576 | 0 | 2014-01-08 | 6:30
2014-01-08 | 6:00 | South Carolina | Voltage Reduction; Public Appeal; Load Shed 100+MW due to Severe Weather - Cold | SERC | 4545 | 677858 | 2014-01-08 | 9:00
2014-01-13 | 16:44 | Arizona | Physical Attack - Vandalism | WECC | 0 | 0 | 2014-01-13 | 16:45
2014-01-15 | 14:32 | Utah | Physical Attack - Vandalism | WECC | 0 | 0 | 2014-01-15 | 14:45
2014-01-16 | 12:30 | Arizona | Physical Attack - Vandalism | WECC | 0 | 0 | 2014-01-16 | 13:57
2014-01-17 | 12:20 | Ohio | Suspected Physical Attack | RFC | 0 | 0 | 2014-01-17 | 12:20
2014-01-17 | 10:30 | Illinois | Fuel Supply Emergency - Natural Gas | RFC | 0 | 0 | 2014-01-28 | 9:00
2014-01-18 | 17:39 | unknown | Electrical System Islanding | RFC | 0 | 0 | 0 | 0:00
2014-01-18 | 9:00 | Texas | Public Appeal to Reduce Electricity Usage | TRE | 0 | 0 | 2014-01-18 | 9:45
2014-01-21 | 17:00 | New Jersey | Physical Attack - Vandalism | RFC | 0 | 0 | 0 | 0:00
2014-01-21 | 12:14 | Missouri | Physical Attack - Vandalism | SERC | 10 | 0 | 2014-01-21 | 12:39
2014-01-22 | 13:55 | Wisconsin | Physical Attack - Vandalism | MRO | 0 | 0 | 2014-01-22 | 14:55
2014-01-22 | 9:45 | Ohio | Physical Attack - Vandalism | RFC | 0 | 0 | 2014-01-22 | 20:19
2014-01-22 | 21:15 | Burlington County, New Jersey | Suspected Physical Attack | RFC | 0 | 0 | 2014-01-23 | 3:08
2014-01-22 | 0:30 | Wisconsin | Physical Attack - Vandalism | MRO | 0 | 0 | 2014-01-22 | 2:45
2014-01-23 | 4:00 | Tennessee | Public Appeal due to Severe Weather - Cold | SERC | 0 | 0 | 2014-01-24 | 12:00
2014-01-23 | 21:17 | Wynoochee, Washington | Physical Attack - Vandalism | WECC | 0 | 0 | 2014-01-24 | 17:00
2014-01-23 | 13:04 | Maryland | Public Appeal due to Severe Weather - Cold | RFC | 0 | 0 | 2014-01-24 | 9:00
2014-01-23 | 16:00 | Tennessee | Public Appeal due to Severe Weather - Cold | SERC | 0 | 0 | 2014-01-24 | 12:00
2014-01-24 | 0:00 | Wisconsin | Fuel Supply Emergency - Coal | RFC | 0 | 0 | 2014-04-09 | 11:53
2014-01-24 | 15:30 | Wisconsin | Physical Attack - Vandalism | MRO | 0 | 0 | 2014-01-24 | 17:00
2014-01-25 | 10:00 | Madison, Wisconsin | Physical Attack - Vandalism | MRO | 0 | 0 | 2014-01-25 | 11:00
2014-01-26 | 23:00 | New Jersey | Physical Attack | RFC | 0 | 0 | 0 | 0:00
2014-01-26 | 21:00 | Oregon | Physical Attack - Vandalism | WECC | 0 | 0 | 2014-01-27 | 11:00
2014-01-27 | 14:20 | Maryland | Public Appeal due to Severe Weather - Cold | RFC | 0 | 0 | 2014-01-28 | 21:00
2014-01-29 | 16:00 | unknown | Physical Attack - Vandalism | MRO | 0 | 0 | 2014-01-29 | 16:44
2014-01-30 | 15:00 | Arizona | Physical Attack - Vandalism | WECC | 0 | 0 | 0 | 0:00
2014-02-05 | 0:00 | Maryland, West Virginia | Severe Weather - Snow/Ice | RFC | 0 | 101580 | 2014-02-09 | 18:00
2014-02-05 | 1:00 | Pennsylvania | Severe Weather - Snow/Ice | RFC | 0 | 144000 | 2014-02-09 | 20:40
2014-02-05 | 5:00 | Pennsylvania | Severe Weather - Snow/Ice | RFC | 0 | 715000 | 2014-02-05 | 5:01
2014-02-05 | 7:00 | New York | Fuel Supply Emergency - Coal | NPCC | 300 | 0 | 2014-02-23 | 7:00
2014-02-05 | 7:35 | Lancaster Region, Pennsylvania | Severe Weather - Snow/Ice | RFC | 0 | 62159 | 2014-02-07 | 4:03
2014-02-05 | 8:05 | Baltimore, Maryland | Severe Weather - Ice | RFC | 800 | 181000 | 2014-02-05 | 8:06
2014-02-06 | 13:00 | California | Fuel Supply Emergency - Natural Gas | WECC | 4000 | 0 | 2014-02-06 | 22:00
2014-02-06 | 13:05 | Northern California | Fuel Supply Emergency - Natural Gas | WECC | 160 | 0 | 2014-02-06 | 19:15
2014-02-06 | 13:58 | Rio Grande Valley Texas | Public Appeal to Reduce Electricity Usage | TRE | 0 | 0 | 2014-02-06 | 20:40
2014-02-06 | 14:15 | California | Fuel Supply Emergency - Natural Gas | WECC | 611 | 0 | 2014-02-06 | 19:39
2014-02-06 | 15:35 | ERCOT Region Texas | Public Appeal to Reduce Electricity Usage | TRE | 0 | 0 | 2014-02-07 | 11:30
2014-02-07 | 7:00 | Niagara County New York | Fuel Supply Emergency - Coal | NPCC | 675 | 0 | 2014-03-21 | 8:00
2014-02-07 | 16:30 | ERCOT Region Texas | Public Appeal to Reduce Electricity Usage | TRE | 0 | 0 | 2014-02-08 | 9:00
2014-02-07 | 16:50 | Texas | Public Appeal to Reduce Electricity Usage | TRE | 0 | 0 | 2014-02-07 | 20:30
2014-02-12 | 7:48 | Northern/Northeastern Georgia | Severe Weather - Snow/Ice | SERC | 1246 | 373835 | 2014-02-15 | 4:30
2014-02-12 | 11:03 | South Carolina | Severe Weather - Snow/Ice | SERC | 700 | 120124 | 2014-02-15 | 8:40
2014-02-12 | 12:10 | North Carolina | Severe Weather - Snow/Ice | SERC | 0 | 200000 | 2014-02-15 | 15:20
2014-02-12 | 14:15 | Vermont | Physical Attack - Vandalism | NPCC | 0 | 0 | 2014-02-12 | 14:16
2014-02-14 | 13:00 | Portland, Oregon | Physical Attack - Vandalism | WECC | 0 | 0 | 2014-02-14 | 15:00
2014-02-18 | 18:43 | Bend, Oregon | Physical Attack - Vandalism | WECC | 0 | 0 | 2014-02-18 | 18:44
2014-02-20 | 16:40 | Missouri, Illinois | Severe Weather - Snow/Ice | SERC | 0 | 66000 | 2014-02-21 | 23:59
2014-02-21 | 2:53 | Northern/Northeastern Georgia | Severe Weather - Thunderstorms/High Winds | SERC | 221 | 66445 | 2014-02-21 | 21:00
2014-03-02 | 19:00 | ERCOT Region Texas | Public Appeal due to Severe Weather - Cold | TRE | 0 | 0 | 2014-03-04 | 9:00
2014-03-03 | 17:25 | New York | Suspected Physical Attack | NPCC | 0 | 0 | 2014-03-03 | 17:25
2014-03-03 | 6:40 | Tennessee | Severe Weather - Winter Storm | SERC | 0 | 65904 | 2014-03-03 | 15:28
2014-03-03 | 1:48 | Mid-Columbia River Generation, Washington | Fuel Supply Emergency - Hydro | WECC | 630 | 0 | 2014-03-03 | 1:49
2014-03-04 | 9:06 | Weston, Wisconsin | Fuel Supply Emergency - Coal | MRO | 0 | 0 | 2014-03-17 | 9:06
2014-03-05 | 17:06 | Salt Lake City, Utah | Physical Attack | WECC | 0 | 0 | 2014-03-05 | 17:07
2014-03-07 | 3:30 | Triad, North Carolina | Severe Weather - Winter Storm | SERC | 1500 | 370900 | 2014-03-07 | 21:00
2014-03-11 | 0:00 | Boone County, Iowa | Suspected Physical Attack | MRO | 0 | 0 | 2014-03-13 | 0:00
2014-03-12 | 19:35 | North Carolina | Severe Weather - High Winds | SERC | 250 | 61377 | 2014-03-13 | 12:00
2014-03-14 | 12:34 | Boone County, Iowa | Physical Attack - Vandalism | MRO | 0 | 0 | 2014-03-14 | 16:45
2014-03-17 | 17:25 | Glendale, Arizona | Physical Attack - Sabatoge | WECC | 0 | 0 | 2014-03-18 | 0:56
2014-03-20 | 0:00 | New York | Suspected Cyber Attack | NPCC | 0 | 0 | 2014-03-20 | 0:01
2014-03-24 | 11:07 | Salt Lake City, Utah | Physical Attack - Vandalism | WECC | 0 | 0 | 2014-03-24 | 11:08
2014-03-26 | 16:00 | Iowa | Physical Attack | MRO | 0 | 0 | 2014-04-10 | 12:00
2014-03-26 | 13:37 | Montana | Electrical System Separation (Islanding) | WECC | 0 | 0 | 2014-03-26 | 14:33
2014-03-31 | 15:41 | Puerto Rico | System Wide Voltage Reduction | unknown | 0 | 0 | 2014-03-31 | 20:08
2014-04-03 | 0:00 | Texas | Fuel Supply Emergency - Coal | TRE | 0 | 0 | 0 | 0:00
2014-04-03 | 14:45 | Wisconsin | Fuel Supply Emergency - Coal | MRO | 0 | 0 | 2014-04-09 | 11:53
2014-04-04 | 3:30 | Central Arkansas | Severe Weather - Wind | SERC | 0 | 57200 | 2014-04-04 | 8:15
2014-04-08 | 13:00 | Davis, California | Physical Attack - Vandalism | WECC | 0 | 0 | 2014-04-08 | 13:01
2014-04-08 | 11:09 | Puerto Rico | Voltage Reduction | unknown | 0 | 0 | 2014-04-08 | 11:20
2014-04-12 | 18:15 | Western and Central Michigan | Severe Weather - Thunderstorms | RFC | 0 | 50000 | 2014-04-14 | 9:00
2014-04-12 | 20:00 | Michigan | Severe Weather | RFC | 0 | 164000 | 2014-04-15 | 19:30
2014-04-23 | 19:45 | Baton Rouge, Louisiana | Load shedding of 100 Megawatts | SERC | 163 | 28000 | 2014-04-23 | 20:37
2014-04-24 | 15:02 | Alberta, Canada | Electrical System Separation (Islanding) | WECC | 0 | 0 | 2014-04-24 | 17:13
2014-04-25 | 7:00 | Delaware | Physical Attack - Vandalism | RFC | 0 | 0 | 2014-04-25 | 7:30
2014-04-27 | 9:15 | Alberta, Canada | Electrical System Separation (Islanding) | WECC | 9750 | 4000000 | 0 | 0:00
2014-04-27 | 12:07 | Albany, Oregon | Physical Attack - Vandalism | WECC | 0 | 0 | 2014-04-27 | 12:09
2014-04-29 | 23:30 | Mississippi, Alabama | Severe Weather - Thunderstorms | SERC | 355 | 106648 | 2014-04-29 | 12:30
2014-04-29 | 9:37 | Northeastern Mississippi, Northern Alabama | Severe Weather - Thunderstorms | SERC | 0 | 57000 | 2014-05-01 | 9:00
2014-04-30 | 3:50 | Alabama, Florida, Georgia | Severe Weather - Thunderstorms | SERC | 296 | 89000 | 2014-04-30 | 14:00
2014-05-08 | 8:39 | Imperial Valley, California | Physical Attack | WECC | 0 | 0 | 2014-05-08 | 8:40
2014-05-08 | 1:00 | Mississippi | Physical Attack | SERC | 0 | 0 | 2014-05-08 | 1:01
2014-05-09 | 18:00 | Indiana | Severe Weather - Heavy Winds | RFC | 0 | 56000 | 2014-05-11 | 13:00
2014-05-11 | 18:38 | MISO North, Minnesota | Physical Attack - Vandalism | MRO | 0 | 0 | 2014-05-11 | 18:39
2014-05-12 | 13:14 | Layton, Utah | Physical Attack - Vandalism | WECC | 0 | 0 | 2014-05-12 | 13:15
2014-05-14 | 15:34 | San Diego & Orange Counties, California | Public Appeal to Reduce Electricity Usage - Wild Fires | WECC | 0 | 426 | 0 | 0:00
2014-05-15 | 10:43 | San Diego & Orange Counties, California | Public Appeal to Reduce Electricity Usage - Wild Fires | WECC | 3300 | 1400000 | 0 | 0:00
2014-05-15 | 12:10 | Whiting, Indiana | Suspected Physical Attack | RFC | 0 | 0 | 2014-05-15 | 12:13
2014-05-16 | 10:43 | San Diego & Orange Counties, California | Public Appeal to Reduce Electricity Usage - Wild Fires | WECC | 3900 | 1400000 | 2014-05-16 | 21:00
2014-05-20 | 7:01 | Duchesne County, Utah | Physical Attack - Vandalism | WECC | 0 | 0 | 2014-05-20 | 7:02
2014-05-23 | 15:00 | North Carolina | Physical Attack - Vandalism | SERC | 0 | 0 | 2014-05-25 | 19:00
2014-05-26 | 12:31 | British Columbia & Alberta, Canada | Electrical System Separation (Islanding) | WECC | 0 | 0 | 2014-05-26 | 13:18
2014-05-27 | 11:00 | Phoenix, Arizona | Physical Attack - Vandalism | WECC | 0 | 0 | 2014-05-27 | 16:53
2014-06-03 | 1:38 | Texas | Physical Attack - Vandalism | ERCOT | 0 | 0 | 2014-06-03 | 1:43
2014-06-03 | 15:32 | Alberta, Canada | Electrical System Islanding | WECC | 338 | 0 | 2014-06-03 | 15:59
2014-06-05 | 3:00 | Shelby County, Tennessee | Severe Weather - Thunderstorms | SERC | 494 | 38500 | 2014-06-07 | 23:45
2014-06-06 | 13:00 | Texas | Fuel Supply Emergency - Coal | ERCOT | 0 | 0 | 0 | 0:00
2014-06-05 | 13:06 | West Tennessee | Severe Weather - Thunderstorms | SERC | 0 | 56475 | 2014-06-05 | 13:07
2014-06-07 | 23:00 | North and Central , Alabama | Severe Weather - Thunderstorms | SERC | 217 | 65000 | 2014-06-08 | 5:30
2014-06-09 | 11:07 | Alberta, Canada | Electrical System Islanding | WECC | 0 | 0 | 2014-06-09 | 11:30
2014-06-11 | 9:30 | Nogales, Arizona | Suspected Physical Attack | WECC | 0 | 0 | 2014-06-11 | 9:31
2014-06-10 | 21:50 | West Virginia | Severe Weather - Thunderstorms | RFC | 0 | 66383 | 2014-06-11 | 14:30
2014-06-11 | 16:00 | Southern Mississippi | Physical Attack - Vandalism | SERC | 0 | 0 | 2014-06-11 | 16:30
2014-06-12 | 9:10 | Somervell County, Texas | Suspected Physical Attack | ERCOT | 0 | 0 | 2014-06-12 | 9:11
2014-06-15 | 0:00 | Central Minnesota | Severe Weather - Thunderstorms | MRO | 0 | 55951 | 2014-06-15 | 1:00
2014-06-18 | 9:52 | Washington | Physical Attack - Vandalism | WECC | 0 | 0 | 2014-06-18 | 19:00
2014-06-18 | 17:00 | Southeast Michigan | Severe Weather - Thunderstorms | RFC | 0 | 138802 | 2014-06-20 | 15:00
2014-06-19 | 8:47 | Nashville, Tennessee | Physical Attack - Vandalism | SERC | 0 | 0 | 2014-06-19 | 8:48
2014-06-24 | 14:54 | Nashville, Tennessee | Physical Attack - Vandalism | SERC | 0 | 0 | 2014-06-24 | 14:55
2014-06-27 | 13:21 | Wisconsin | Fuel Supply Emergency - Coal | MRO | 0 | 0 | 0 | 0:00
2014-06-30 | 17:55 | Southeast Wisconsin | Severe Weather - Thunderstorms | MRO | 424 | 120000 | 2014-07-01 | 2:53
2014-06-30 | 20:00 | Illinois | Severe Weather - Thunderstorms | RFC | 0 | 420000 | 2014-07-02 | 18:30
2014-06-30 | 23:20 | North Central Indiana | Severe Weather - Thunderstorms | RFC | 0 | 127000 | 2014-07-01 | 17:00
2014-07-01 | 5:00 | Indiana, Michigan | Severe Weather - Thunderstorms | RFC | 0 | 57237 | 2014-07-02 | 2:00
2014-07-02 | 8:39 | Wisconsin | Fuel Supply Emergency - Coal | MRO | 0 | 0 | 2014-07-28 | 15:13
2014-07-01 | 3:30 | Southwest Michigan | Severe Weather - Thunderstorms | RFC | 0 | 51000 | 0 | 0:00
2014-07-01 | 4:00 | Southeast Michigan | Severe Weather - Thunderstorms | RFC | 0 | 140000 | 2014-07-03 | 23:30
2014-07-03 | 18:00 | Pennsylvania | Severe Weather - Thunderstorms | RFC | 0 | 298165 | 2014-07-06 | 12:00
2014-07-03 | 22:55 | Vermont, New Hampshire, Maine, Rhode Island, Massachusetts, Connecticut | Severe Weather - Thunderstorms | NPCC | 0 | 64000 | 2014-07-04 | 1:50
2014-07-08 | 20:30 | Pennsylvania | Severe Weather - Thunderstorms | RFC | 0 | 260000 | 2014-07-11 | 23:00
2014-07-08 | 21:31 | Maryland | Severe Weather - Thunderstorms | RFC | 0 | 56600 | 0 | 0
2014-07-08 | 18:00 | Eastern Pennsylvania | Severe Weather - Thunderstorms | RFC | 0 | 69000 | 2014-07-11 | 17:53
2014-07-08 | 17:30 | Maryland, West Virginia | Severe Weather - Thunderstorms | RFC | 0 | 96000 | 2014-07-12 | 23:20
2014-07-08 | 17:30 | West Virginia | Severe Weather - Thunderstorms | RFC | 0 | 71000 | 2014-07-12 | 23:30
2014-07-08 | 19:21 | Upstate New York | Severe Weather - Thunderstorms | NPCC | 0 | 65000 | 2014-07-11 | 7:00
2014-07-08 | 17:30 | Central and Northeastern Pennsylvania | Severe Weather - Thunderstorms | RFC | 0 | 66000 | 2014-07-10 | 15:00
2014-07-14 | 16:00 | Washington | Suspected Physical Attack | WECC | 0 | 0 | 2014-07-14 | 16:15
2014-07-23 | 19:14 | Arkansas, Louisiana | Severe Weather - Thunderstorms | SERC | 0 | 57299 | 2014-07-24 | 0:23
2014-07-24 | 16:29 | California | Load shedding of 100 Megawatts | WECC | 126 | 26856 | 2014-07-24 | 23:32
2014-07-27 | 17:00 | Southeast Michigan | Severe Weather - Thunderstorms | RFC | 0 | 156611 | 2014-07-28 | 23:00
2014-07-27 | 23:00 | Central California | Uncontrolled Loss of 300 Megawatts | WECC | 480 | 1 | 2014-07-28 | 4:00
2014-08-01 | 15:03 | Utah | Physical Attack | WECC | 0 | 0 | 2014-08-01 | 15:04
2014-08-13 | 6:08 | Alberta, Canada | Electrical System Separation (Islanding) | WECC | 370 | 0 | 2014-08-13 | 6:34
2014-08-20 | 1:21 | Alberta, Canada | Electrical System Separation (Islanding) | WECC | 0 | 0 | 2014-08-20 | 1:41
2014-08-23 | 16:39 | City of Highland, Illinois | Operational Failure of Electrical System | RFC | 31 | 6549 | 2014-08-24 | 1:46
2014-08-24 | 3:20 | North of San Francisco, California | Earthquake | WECC | 95 | 70000 | 2014-08-25 | 7:05
2014-08-26 | 15:30 | Southeast Michigan | Severe Weather - Thunderstorms | RFC | 0 | 0 | 0 | 0:00
2014-08-27 | 12:49 | Delaware | Suspected Physical Attack | RFC | 0 | 0 | 2014-08-27 | 13:30
2014-08-30 | 15:30 | Luzerne County, Pennsylvania | Suspected Physical Attack | RFC | 0 | 0 | 2014-09-01 | 14:30
2014-09-05 | 20:00 | Michigan | Severe Weather - Thunderstorms | RFC | 0 | 324000 | 0 | 0:00
2014-09-05 | 16:30 | Illinois | Severe Weather - Thunderstorms | RFC | 0 | 180400 | 2014-09-06 | 14:00
2014-09-05 | 19:14 | Lower Peninsula of Michigan | Severe Weather - Thunderstorms | RFC | 50 | 60000 | 2014-09-06 | 13:00
2014-09-09 | 8:18 | Alberta, Canada | Electrical System Separation (Islanding) | WECC | 0 | 0 | 2014-09-09 | 23:59
2014-09-11 | 4:56 | Alberta, Canada | Electrical System Separation (Islanding) | WECC | 0 | 0 | 2014-09-11 | 5:37
2014-09-14 | 21:50 | Oregon | Electrical System Separation (Islanding) | WECC | 1 | 123 | 2014-09-17 | 15:08
2014-09-16 | 11:56 | California | Physical Attack - Vandalism | WECC | 0 | 0 | 2014-09-16 | 11:57
2014-09-17 | 13:30 | Michigan | Suspected Physical Attack - Suspcious Activity | RFC | 0 | 0 | 2014-09-17 | 14:00
2014-09-19 | 14:20 | Estacada, Oregon | Electrical System Separation (Islanding) | WECC | 1 | 123 | 2014-09-23 | 13:10
2014-09-22 | 11:00 | Northeast Minnesota | Fuel Supply Emergency - Coal | MRO | 1000 | 140000 | 2014-09-22 | 11:01
2014-09-23 | 1:13 | New York | Physical Attack - Suspcious Activity | NPCC | 0 | 0 | 2014-09-23 | 3:00
2014-09-21 | 13:30 | New York | Physical Attack - Suspcious Activity | NPCC | 0 | 0 | 0 | 0:00
2014-09-24 | 11:30 | Washington | Physical Attack - Vandalism | WECC | 0 | 0 | 2014-09-24 | 15:43
2014-10-02 | 15:00 | Cave Junction, Oregon | Suspected Physical Attack - Vandalism | WECC | 0 | 0 | 2014-10-02 | 15:01
2014-10-02 | 22:15 | Arkansas | Severe Weather - Thunderstorms | SERC | 0 | 67300 | 0 | 0:00
2014-10-02 | 16:00 | Texas | Severe Weather - Thunderstorms | TRE | 0 | 500000 | 2014-10-07 | 10:00
2014-10-06 | 10:52 | Houston, Texas | Severe Weather - Thunderstorms | TRE | 292 | 129237 | 2014-10-07 | 0:52
2014-10-07 | 12:00 | Maryland | Suspected Physical Attack - Vandalism | RFC | 0 | 0 | 2014-10-07 | 12:01
2014-10-08 | 16:47 | Rio Grande Valley Texas | Public Appeal to Reduce Electricity Usage; Load Shed of 100 MW | TRE | 0 | 0 | 2014-10-08 | 18:29
2014-10-08 | 16:49 | Rio Grande Valley Texas | Public Appeal to Reduce Electricity Usage; Load Shed of 100 MW | TRE | 585 | 120000 | 2014-10-08 | 18:23
2014-10-09 | 9:27 | Rio Grande Valley Texas | Public Appeal to Reduce Electricity Usage | TRE | 0 | 2800 | 0 | 0:00
2014-10-13 | 12:45 | Louisiana | Severe Weather - Thunderstorms | SERC | 0 | 68600 | 2014-10-13 | 16:15
2014-10-14 | 7:33 | Oregon | Suspected Physical Attack - Vandalism | WECC | 0 | 0 | 2014-10-14 | 7:34
2014-10-14 | 18:20 | Puerto Rico | Voltage Reduction | unknown | 0 | 0 | 2014-10-14 | 18:28
2014-10-14 | 5:44 | Alabama, Florida, Georgia | Severe Weather - Thunderstorms | SERC | 191 | 57475 | 2014-10-14 | 17:50
2014-10-15 | 7:46 | Oregon | Suspected Physical Attack - Vandalism | WECC | 0 | 0 | 2014-10-15 | 7:47
2014-10-16 | 9:12 | Garden City, Kansas | Suspected Physical Attack - Vandalism | MRO | 0 | 0 | 2014-10-17 | 15:00
2014-10-16 | 13:25 | Manitoba | Suspected Physical Attack | MRO | 129 | 0 | 2014-10-16 | 17:26
2014-10-20 | 0:00 | Howard County, Texas | Suspected Physical Attack - Vandalism | MRO | 0 | 0 | 0 | 0:00
2014-10-21 | 8:25 | Carmel, Indiana | Suspected Cyber Attack | MRO | 0 | 0 | 2014-10-21 | 10:08
2014-10-22 | 22:46 | New Hampshire, Maine, Massachusetts, Rhode Island, Connecticut, Vermont | Severe Weather | NPCC | 0 | 66650 | 2014-10-22 | 22:47
2014-10-24 | 18:16 | Enfield, Connecticut | Suspected Physical Attack - Vandalism | NPCC | 0 | 0 | 2014-10-25 | 13:51
2014-10-24 | 16:00 | Howard County, Texas | Suspected Physical Attack - Vandalism | MRO | 0 | 0 | 2014-10-24 | 17:50
2014-10-25 | 16:00 | Greater Portland and Salem, Oregon | Severe Weather - Wind | WECC | 216 | 78000 | 2014-10-25 | 22:00
2014-10-25 | 18:00 | King County, Thurston County and Kitsap County, Washington | Severe Weather - Wind | WECC | 154 | 96000 | 0 | 0:00
2014-11-01 | 1:00 | Portland, Oregon | Suspected Physical Attack - Vandalism | WECC | 0 | 0 | 2014-11-01 | 1:01
2014-11-02 | 13:46 | Massachusetts, Maine, Vermont, New Hampshire, Rhode Island, Connecticut | Severe Weather - Winter Storm | NPCC | 0 | 63719 | 0 | 0:00
2014-11-11 | 18:00 | Washington | Severe Weather - Wind | WECC | 132 | 68000 | 2014-11-14 | 15:00
2014-11-12 | 2:59 | 0 | Suspected Physical Attack - Vandalism | SERC | 0 | 0 | 2014-11-12 | 3:00
2014-11-13 | 7:07 | Howard County,Texas | Suspected Physical Attack - Vandalism | MRO | 0 | 0 | 2014-11-13 | 7:08
2014-11-14 | 9:50 | Estacada, Oregon | Electrical System Islanding | WECC | 1 | 123 | 2014-11-14 | 13:18
2014-11-19 | 14:44 | Victorville, California | Suspected Physical Attack - Vandalism | WECC | 0 | 0 | 2014-11-19 | 14:45
2014-11-21 | 20:29 | Twin Falls, Idaho | Suspected Physical Attack - Vandalism | WECC | 0 | 0 | 2014-11-23 | 0:16
2014-11-21 | 11:26 | Sand Springs - Fort Rock, Oregon | Suspected Physical Attack - Vandalism | WECC | 0 | 0 | 2014-11-23 | 17:20
2014-11-24 | 0:00 | Nebraska, Kansas, Texas, Arkansas, Louisiana, New Mexico | Fuel Supply Emergency - Coal | SPP | 0 | 0 | 0 | 0:00
2014-11-24 | 12:00 | Michigan | Severe Weather - Wind | RFC | 0 | 186154 | 2014-11-27 | 13:00
2014-11-26 | 17:50 | New Hampshire, Massachusetts, Maine, Rhode Island, Connecticut, Vermont | Severe Weather - Winter Storm | NPCC | 0 | 79530 | 2014-11-28 | 7:00
2014-12-01 | 10:44 | Fayetteville, North Carolina | Suspected Physical Attack - Vandalism | SERC | 0 | 0 | 2014-12-01 | 10:45
2014-12-03 | 12:15 | Maine | Suspected Physical Attack - Vandalism | NPCC | 0 | 0 | 2014-12-03 | 12:16
2014-12-11 | 6:40 | Northern California | Severe Weather- High Winds | WECC | 0 | 0 | 0 | 0:00
2014-12-11 | 7:21 | San Francisco, California | Distribution Interruption - 0 Cause | WECC | 225 | 75000 | 2014-12-11 | 21:53
2014-12-11 | 23:15 | Northern California | Severe Weather- High Winds | WECC | 0 | 0 | 0 | 0:00
2014-12-11 | 16:05 | Portland, Oregon | Severe Weather- High Winds | WECC | 250 | 85470 | 2014-12-11 | 21:00
2014-12-11 | 17:00 | Kitsap, Thurston, Whatcom counties Washington | Severe Weather- High Winds | WECC | 116 | 264000 | 2014-12-12 | 10:00
2014-12-17 | 11:00 | Washington | Suspected Physical Attack | WECC | 0 | 0 | 2014-12-17 | 12:15
2014-12-30 | 15:50 | New Hampshire, Massachusetts, Maine, Rhode Island, Connecticut, Vermont | Suspected Cyber Attack | NPCC | 0 | 0 | 2014-12-31 | 11:00
2014-12-30 | 13:08 | Northern California | Severe Weather- High Winds | WECC | 127 | 84500 | 2015-01-01 | 16:50
1 Source: Submissions of all Electric Emergency Incident and Disturbance Reports (OE-417), http://www.oe.netl.doe.gov/oe417.aspx
2 This event was incorrectly listed as occuring in April 2014 in previous postings. It has been corrected in this release.